Concepts Covered in Pre/Post-Tests for 57:020

Lab 3: Airfoil Flow

1. Using Labview for setting test conditions and data acquisition 2. Calibration of load cell. 3. Measurement of lift and drag forces with load cell. 4. Measurement of pressure distribution on the airfoil using scanivalve.