57:020 Mechanics of Fluids & Transfer Processes

Laboratory Experiment #1

Measurement of Kinematic Viscosity

Marian Muste, Fred Stern

# 1. Purpose

To measure the kinematic viscosity of a fluid, the uncertainty of the measurement, to compare the measured kinematic viscosity with manufacturer’s value, and to demonstrate the effects of viscosity by comparison of the fall times for spheres of different densities and diameters.

# 2. Experiment Design

A fluid deforms continuously under the action of a shear stress (http://css.engineering.uiowa.edu/fluidslab/referenc/concepts.html - select Viscosity).  The rate of strain in a fluid is proportional to the shear stress.  The proportionality constant is the dynamic viscosity ().  Viscosity is a thermodynamic property that varies with pressure, temperature, and fluid nature.  For instance, for a given state of pressure and temperature, there is a variation of three orders of magnitude between water and glycerin, the fluid which will be used in this experiment.  The kinematic viscosity  where  is the density of the fluid, is most frequently used in the equations of fluid mechanics.

Common methods used to determine viscosity are the rotating-concentric-cylinder method (Engler viscosimeter) and the capillary-flow method (Saybolt viscosimeter).  Alternatively, we will measure the kinematic viscosity through its effect on a falling object.  The maximum velocity attained by an object in free fall (terminal velocity) is strongly affected by the viscosity of the fluid through which it is falling.  When terminal velocity is attained, the body experiences no acceleration, so the forces acting on the body are in equilibrium (Figure 1).

Figure 1.  Experimental arrangement

The forces acting on the body are the gravitational force,

(1)

The force due to buoyancy,

(2)

and the resistance of the fluid to the motion of the body, similar to friction.  For Re = VD/ν << 1 (Re is a dimensionless number that characterizes the flow), the drag force on a sphere is described by the Stokes expression

(3)

where  is the sphere diameter,  is the density of the fluid,  is the density of the falling sphere,  is the viscosity of the fluid, , , and , denote the drag, buoyancy, and weight forces, respectively, V is the velocity of the sphere through the fluid (in this case, the terminal velocity), and g is the acceleration due to gravity (White 1994).

Once terminal velocity is achieved, a summation of the vertical forces must balance.  Equating the forces gives:

(4)

where t is the time for the sphere to fall the vertical distance .

Using equation (4) for two different balls, namely, teflon and steel spheres, the following relationship for the density of the fluid is obtained, where subscripts s and t refer to the steel and teflon balls, respectively.

(5)

# 3. Experiment Process

# 3.1 Setup

The equipment (measurement systems) in the experiment includes:

- A transparent cylinder (beaker) containing glycerin.  A scale is attached to its side to read the distance the sphere has fallen.

- Teflon and steel spherical balls of different sizes

- Stopwatch

- Micrometer

- Thermometer

# 3.2 Data acquisition

In this experiment, we will allow a sphere to fall through a long transparent cylinder filled with the glycerin Figure 1.  After the sphere has fallen a long enough distance so that it achieves terminal velocity, we will measure the length of time required for the sphere to fall through the distance.

The experiment procedure follows the sequence described below:

1.  Measure the temperature of the room.

2.  Two horizontal lines are marked on the vertical cylinder.  Measure the distance between the two lines, .

3.  Measure the diameter of each sphere (teflon and steel) using the micrometer.

4.  Release the sphere at the surface of the fluid in the cylinder.  Then, release the gate handle.

5.  Release the spheres, one by one

6.  Measure the time for the sphere to travel the length 

7.  Repeat steps 3- 6 for all spheres.  At least 10 measurements will be taken for each type of spheres.

Since the fall time of the sphere is very short, it is important to measure the time as accurately as possible.  Start the stopwatch as soon as the bottom of the ball hits the first mark on the cylinder and stop it as soon as the bottom of the ball hits the second mark.   Two people should cooperate in this measurement with one looking at the first mark and handling the stopwatch, and the other looking at the second mark.  A spreadsheet will be provided to record the measurements.

# 3.3 Data reduction

Figure 2 illustrates the block diagram of the measurement systems and data reduction equations for the results.  A spreadsheet will be provided to conduct the data reduction.

Data reduction includes the following steps

1.  Calculate the fluid density for each measurement using equation (5).

2.  Calculate the kinematic viscosity for each measurement using equation (4) for either sphere type.

# 3.4 Uncertainty assessment

Uncertainties for the experimentally determined glycerin density and kinematic viscosity will be evaluated.

The methodology for estimating uncertainties follows the AIAA S-071-1995 Standard (AIAA, 1995) as summarized in Stern et al. (1999) for multiple tests (M = 10).  The block diagram for propagation of errors in the measured density and viscosity is provided in Figure 2.  The data reduction equations for density and viscosity of glycerin are equation (5) and (4), respectively.  First, the elemental errors for each of the independent variable, Xi, in data reduction equations should be identified using the best available information (for bias errors) and repeated measurements (for precision errors).  Table 1 contains the summary of the elemental errors assumed for the present experiment.

Figure 2.  Block diagram of density/viscosity experiment including: measurement systems, data reduction equations, and results

Table 1.  Assessment of the bias limits for the independent variables

| Bias limit | Bias Limit | Estimation |
| --- | --- | --- |
| BD= BDs = BDt | 0.000005 m | ½ instrument resolution |
| Bt = Bts = Btt | 0.01 s | Last significant digit |
| B( | 0.00079 m | ½ instrument resolution |

The bias limit, precision limit, and overall uncertainty for the experimental results, namely the density and viscosity of glycerin, are then found using Eqs. (14), (23) and (24) in Stern et al. (1999).  Note that in the present analysis we will neglect the contribution of the correlated bias errors in equation (14).

Density of glycerin

The total uncertainty for the density measurement is:

(6)

The bias limit , and the precision limit , for the result are given by:

(7)

(8)

where the sensitivity coefficients (calculated using mean values for the independent variables) are:

The standard deviation for density of glycerin for the 10 repeated measurements is calculated using the following formula

Viscosity of glycerin

Uncertainty assessment for the glycerin viscosity will be based on the measurements conducted with the teflon spheres.  This selection is justified on a better agreement with Stokes' law requirements (Re << 1) than for the steel spheres. The total uncertainty for the viscosity measurement is given by equation (24) in Stern et al. (1999):

(9)

The bias limit , and the precision limit , for viscosity (neglecting correlated bias errors) is given by equations (14) and (23) in Stern et al. (1999), respectively.

(10)

(11)

The bias limits for BDt , Btt, B( were evaluated previously in conjunction with the estimation of .  is provided in Table 1.  The sensitivity coefficients, (i, (calculated using mean values from previous data for the independent variables) are:

The standard deviation for the viscosity of glycerin for the 10 repeated measurements is calculated using the following formula

# 3.5 Data analysis

The measured values will be compared with the manufacturer’s values.  Figure 3 contains benchmark data provided by the glycerin manufacturer

Discussions

1.  How does the size of the sphere affect the calculated viscosity value?

- The Stokes relation is valid only for Re = << 1.  The Reynolds number  is given by () where  and  are characteristic length and velocity scales for the flow.  Calculate the Reynolds number for our experiment.  Are we within the limits?

- How does the drag coefficient  vary with velocity for low Reynolds number (Re =  << 1, i.e. Stokes law is valid), where  is the velocity of the sphere?

4.  How does viscosity of glycerin change with temperature?

Figure 3.  Reference data for the density and viscosity of 100% aqueous glycerin solutions

(Proctor & Gamble Co., Product Catalogue, 1995)

# 4. References

AIAA (1995).  AIAA S-071-1995 Standard, American Institute of Aeronautics and Astronautics, Washington, DC.

Batchelor, G.K. (1967).  An Introduction to Fluid Dynamics, Cambridge University Press, London

Granger, R.A. (1988). Experiments in Fluid Mechanics, Holt, Rinehart and Winston, Inc. New York, NY

Proctor & Gamble Co., 1995, Product Catalogue.

Stern, F., Muste, M., Beninati, M-L, and Eichinger, W.E. (1999).  “Summary of Experimental Uncertainty Assessment Methodology with Example,” IIHR Report No. 406, The University of Iowa, Iowa City, IA.

White, F.M. (1994). Fluid Mechanics, 3rd edition, McGraw-Hill, Inc., New York, NY.

Visualization clips

http://css.engineering.uiowa.edu/fluidslab/referenc/concepts.html - Viscosity