# 53:071 Principles of Hydraulics

# Laboratory Experiment

# HYDROPOWER GENERATION SYSTEM

# M. Muste, D. Houser, D. DeJong, G. Kirkil

# Principle

# Turbines convert fluid energy into rotational mechanical energy, which is subsequently converted in electric energy.

# Experimental Goal

# The Pelton turbine experiment demonstrates a complete hydroelectric power system, from generator to consumer usage. The experiment is instrumented to allow for documenting the efficiency of the energy conversion in a hydropower plant.

# Introduction

There are two types of turbines, reaction and the impulse, the difference being the manner of head conversion. In the reaction turbine, the fluid fills the blade passages, and the head change or pressure drop occurs within the runner. An impulse turbine first converts the water head through a nozzle into a high-velocity jet, which then strikes the buckets at one position as they pass by. The runner passages are not fully filled, and the jet flow past the buckets is essentially at constant pressure. Impulse turbines are ideally suited for high head and relatively low power. The Pelton turbine used in this experiment is an impulse turbine. The Pelton turbine consists of three basic components as shown in Figure 1: a stationary inlet nozzle, a runner, and a casing. The runner consists of multiple buckets mounted on a rotating wheel. The jet strikes the buckets and imparts momentum. The buckets are shaped in a manner to divide the flow in half and turn its relative velocity vector nearly 180.

Figure 1. Schematic of an impulse turbine and photograph of the model Pelton turbine.

The primary feature of the impulse turbine is the power production as the jet is deflected by the moving buckets. Assuming that the speed of the exiting jet is zero (all of the kinetic energy of the jet is expended in driving the buckets), negligible head loss at the nozzle and at the impact with the buckets (assuming that the entire available head is converted into jet velocity), the energy equation applied to the control volume shown in Figure 1 provides the power extracted from the available head by the turbine

PavailableQHavailable					(1)

where Q is the discharge of the incoming jet, and Havailable is the available pressure head on the nozzle. By applying the angular momentum equation (assuming negligible angular momentum for the exiting jet) to the same control volume about the axis of the turbine shaft the absolute value of the hydraulic power developed by the turbine can be written as

Phydraulic = ωT = 2πNT				(2)

where ω is the angular velocity of the runner, T is the torque acting on the turbine shaft, and N is the rotational speed of the runner. The hydraulic efficiency of the turbine is defined as the ratio between the mechanical power developed by the turbine to the available water power

ηhydraulic = Phydraulic / Pavailable		               (3)

In general the efficiency of the turbine is provided as isoefficiency curves. They show the interrelationship among Q, ω and h. A typical isoefficiency plot is provided in Figure 2.

Figure 2. Isoefficiency curve for a laboratory-scale Pelton turbine.

Under ideal conditions the maximum hydraulic power generated is about 85%, but experimental data shows that Pelton turbines are somewhat less efficient (approximately 80%) due to windage, mechanical friction, backsplashing, and nonuniform bucket flow.

On the other hand, the electrical power output of the turbine can be written as

Pelectrical = VI					(4)

where V is the voltage and the I is the current. The electrical efficiency of the turbine is defined as the ratio between the electrical power developed by the turbine to the mechanical power

ηelectrical = Pelectrical / Phydraulic			(5)

Finally, the overall efficiency of the turbine is

ηtotal = ηelectrical * ηhydraulic				(6)

The purpose of the present experiment is to determine the overall efficiency of a laboratory-scale Pelton turbine.

# Experimental Design

The experimental setup accurately replicates all the power production steps: conversion of hydraulic energy into mechanical energy, and subsequently into electric energy. For accomplishing these energy transformation steps, the prototype hydropower plant comprises a turbine (which converts hydraulic energy to mechanical energy materialized by the rotation of the turbine shaft) that is coupled on the same shaft to an electric generator (which converts the mechanical energy to electric energy). The current created by the electric generator is then distributed to the public distribution network. The electric generator has to run continuously at the 60Hz standard frequency regardless of the number of users drawing from the system. An increase in the energy demand in the network requires more mechanical energy to be delivered to the electric generator, which essentially implies an increase of the rotational speed of the shaft. The increase of mechanical energy requires in turn an increase of the hydraulic energy supplied by the turbine. The increase of the hydraulic energy can be attained either by increasing the head on the turbine or the discharge passing through it.

The hydropower plant laboratory model is located in the East Annex of IIHR. A schematic diagram and a photo of the experimental setup are shown in Figures 3 and 4, respectively. Similar to a prototype generation and distribution system, the setup contains a Pelton turbine, an electric generator, and simulated consumers. In real cases, the turbine and electric generator are placed on the same shaft, which is not the case in our system (because of lack of appropriate space and to dampen oscillations in the system). A transmission belt connects the turbine shaft with the electric generator instead. Consumers in the distributed network are simulated in the experiment by bulbs. The setup is instrumented for providing generator rotational speed (in Hz), the voltage, and current provided to the bulbs. Note that, similar to the prototype, the electric generator will be maintained at the rotational speed of 60 Hz, which provides the 110 V as output (even when all the bulbs are off).

Figure 3. Schematic of the experimental setup.

a)                                                               b)

c)

Figure 4. Photograph of the experimental setup; a) general view of the experiment; b) set of bulbs simulating consumer in the power grid; c) details of the experiment control panel

In addition to the components found in the prototype hydropower plants, the experimental apparatus contains a mechanical brake consisting of a circular plate positioned on the turbine shaft provided with friction pads that can be applied to the plate. A hand wheel is used to control the hydraulic system that applies friction to the disk (similar to an automobile break). The role of the mechanical torque is to simulate the electrical load applied by consumers on the distribution network.  Specifically, the greater the consumer demand the greater the torque on the system. A torque meter with a digital display is placed on the turbine shaft to measure the torque applied on the shaft. A digital display provides the shaft rotational speed (rotation per min). The two measurements are needed to compute the mechanical energy extracted from the shaft for various levels of friction applied by the friction plate.

The 10 light bulbs on the ceiling simulate the electrical load, or the consumers in our scenario with all of their various electrical devices, lighting, heating, and air conditioning, along with commercial and industrial power needs. Two measurements are needed to compute the electrical energy extracted from the generator for various loads in the power grid. They are voltage and current of the generator.

The hydraulic head on the turbine is provided by a pump located in a nearby sump. A pressure gage is attached to the water pipe entering the turbine for reading the available water head. The discharge to the setup is supplied by the pump and regulated by a discharge controlling valve. The water exiting the nozzle is collected in a releasing basin equipped with a triangular weir at the downstream end to allow measurement of the flow discharge. The turbine and the torque assembly are fully instrumented to determine the efficiency of the turbine for various loads applied on the shaft.

Procedures

Measurements will be taken to determine hydraulic, electric and total efficiency of the turbine under different loads and the correlation between efficiency and rotational speed for two discharges.

Each group of students will proceed with the sequence described below.

Part-1: Estimation of the hydraulic, electrical and total efficiency of the turbine/electrical generator system:

1. 	Close the drain valve positioned on the releasing basin (Figure 3).

2.	Ensure that the brake (K in Figure 4) is not applied so there is no friction applied on the turbine shaft.

3. 	Open the discharge controlling valve (J in Figure 4) completely on the inlet pipe and record the pressure (psi) on the pressure gage (B in Figure 4).

4.	Turn on the generator switch (H in Figure 4) and bring generator to 60Hz (E in Figure 4) using the input flow valve (J in Figure 4).

5.	Apply the first electrical load to generator (A in Figure 4). As power line frequency drops, in order to maintain 60 Hz (E in Figure 4) open input valve (J in Figure 4) slowly.

6.	Measure the rotational speed (rpm) of the shaft (D in Figure 4), residual torque (lb-in) (C in Figure 4), voltage (volts) (F in Figure 4) and the current (amps) (G in Figure 4).

7.	Measure the head on the weir (H1 in Figure 3) using the point gage.

8.	Repeat steps 5-7 as second, third and fourth loads are added to the system.

Part-2: Estimation of the turbine hydraulic efficiency curve for two discharges (see Figure 2):

9.	Ensure that the brake (K in Figure 4) is not applied so there is no friction applied on the turbine shaft.

10. Open the discharge controlling valve (J in Figure 4) completely on the inlet pipe and record the pressure (psi) (Havailable) on the pressure gage (B in Figure 4).

11.	Measure the rotational speed (rpm) of the shaft (D in Figure 4), residual torque (lb-in) (C in Figure 4).

12.	Slowly tighten the friction hand-wheel (K in Figure 4) and record the torque (C in Figure 4) as well as the rotational speed of the shaft (D in Figure 4) for 8-10 different speeds. The lowest rotational speed must be at least 500 rpm in order keep the break from getting to hot. After three measurements, back off the break (K in Figure 4) and give it time to cool before proceeding.

13.	Back off the brake completely (K in Figure 4) and measure the head on the weir (H1, ft in Figure 3) using the point gage.

14.	Decrease the discharge by partially closing the pipe inlet valve (J in Figure 4) until the meter reads the specified turbine speed (D in Figure 4) and repeat steps 11 through 13 with another discharge.

15.	Open the drain valve (Figure 3) and allow the basin to drain until only a trickle of water flows over the weir. Wait for weir flow to stop, then measure the water depth indicated by the point gage (H0 in Figure 3).

# Measurements

# Record the measured quantities in Table 1 and Table 2.

# Table 1. Data acquisition and processing forms for Part-1.

|  | Data Acquisition | Data Reduction |
| --- | --- | --- |
| Operation | H0 [ft] | H1 [ft] | Havail. [psi] | T [lb-in] | N turbine [rpm] | Q [cfs] | Pavailable [lbf*ft/sec] | Phydr [lbf*ft/sec] | Hyd. Effic. [%] |
| 4 Bulbs | 0.919 |  |  |  |  |  |  |  |  |
| 3 Bulbs | 0.919 |  |  |  |  |  |  |  |  |
| 2 Bulbs | 0.919 |  |  |  |  |  |  |  |  |
| 1 Bulb | 0.919 |  |  |  |  |  |  |  |  |

| Data Acquisition | Data Reduction |
| --- | --- |
| Operation | Voltage [volts] | Current [amps] | Pelec [lbf*ft/sec] | Elec. Efficiency [%] | Overall Efficiency [%] |
| 4 Bulbs |  |  |  |  |  |
| 3 Bulbs |  |  |  |  |  |
| 2 Bulbs |  |  |  |  |  |
| 1 Bulb |  |  |  |  |  |

# Table 2. Data acquisition and processing forms for Part-2

|  | Data Acquisition | Data Reduction |
| --- | --- | --- |
|  | H0 [ft] | H1 [ft] | Havail. [psi] | T [lb-in] | N turbine[rpm] | Q [cfs] | Pavailable [lb*ft/sec] | Phydr [lb*ft/sec] | Hyd. Effic [%] |
| Run 1 | 0.919 |  |  |  |  |  |  |  |  |
| Run 2 | 0.919 |  |  |  |  |  |  |  |  |

# Data Analysis - Part-1

1. 	Determine the discharge through the system using the weir calibration equation

Q =2.49(H1-H0)2.48 (cfs)

2. 	Determine Pavail, Phydr, Pelec (lbf-ft/sec) for four different loads in the system using the data reduction equations (1), (2) and (4).

3.	Determine ηhydr, ηelec, ηtotal (efficiencies) using the data reduction equations (3), (5) and (6).

# Data Analysis - Part-2

1. 	Determine the discharge through the system using the weir calibration equation

Q =2.49(H1-H0)2.48 (cfs)

2. 	Determine the hydraulic efficiency of the turbine using the data reduction equation (3).

3. 	Plot the rotational speed, N vs. the hydraulic efficiency, ηhydr of the turbine for each of the applied torque. Show the results for both runs (two discharges).

# References

Robertson, J.A. and Crowe, C.T. (1993). Engineering Fluid Mechanics, 5th edition, Houghton Mifflin, Boston, MA.

White, F.M. (1994). Fluid Mechanics, 3rd edition, McGraw-Hill, Inc., New York, NY.

# Text boxes

H- Generator Switch

A- Electrical

Loads

J- Discharge controlling valve

K- Hydraulic Break

G- Generator Current (amps)

F-

Generator Voltage (volts)

E- Generator Speed (Hz)

D- Turbine Speed (rpm)

C- Turbine Torque

(lb-in)

B- Available Head (psi)